## Slide 1
Spectrum Analyzer
IP Camera
Near Field Scanner enabled by Computer Vision Tracking
Running on the windows based Spectrum Analyzer
Sniffer Probe with
Red color at the tip
Device Under Test

## Slide 2
Connect Camera, SA
Setup Mesh Grid
Overlay Mesh Grid
Acquire single frame
If stop?
Get Red Component
Filter noise using median filter
Convert red into white binary img
Calculate centroids and bounding box of white blobs
Convert centroid location to mesh index
Collect data from SA
Maximum hold the existing data with new data
Save data into indexed matrix
Overlay the maximum value to mesh grid
Overlay the Heat map to frame